# Facility Planning & Control

2. INSTRUCTIONS ON STANDARD FORMS AND SPECIFICATIONS

The following documents are part of the Instructions to Designers and shall be included in the Bid Documents in the sequence shown, (copy those provided; do not retype except for the Schedule of Values).

Advertisement for Bids

Instructions to Bidders

Bid Form

Bid Bond Form

General Conditions of the Contract for Construction, AIA Document A201, 2017 Edition (These documents shall be used only in compliance with the applicable copyright provisions.)

Supplementary Conditions

Contract Between Owner and Contractor and Performance and Payment Bond and Non-Collusion Affidavit

Attestations Affidavit – 10-day document

User Documents (if applicable)

Pre-Construction Conference Agenda

Schedule of Values

Change Order Form

Recommendation of Acceptance

Partial Occupancy Form

Building Plaque (if applicable)

Asbestos Abatement (if applicable)

Other Documents (if applicable)

Specifications & Drawings

Addenda issued during the bid period to be acknowledged on the Bid Form (upon compilation of record documents)

Advertisement for Bids

1. This office will establish the date and time for receipt of bids and will advertise the project for bids, upon satisfactory completion and acceptance of the documents and receipt of a request to advertise for bids from the User Agency. Approval letters from regulatory agencies are required to be submitted before the project can be advertised. A copy of the completed Advertisement for Bids shall be included in all copies of the Bid Documents, upon issuance.  By State Law, these documents shall be ready for issuance on the day the first advertisement appears.

2. The Designer shall fill in:

a.	The name of the project, location and project number, and where the Bid Documents may be obtained from the Designer.

b. The Designer’s contact information for Bidders’ questions about obtaining Bid Documents.

c. The Contractor's license classification.

Instructions to Bidders

1. The Designer shall include a copy (reproduced, not retyped) of the Instructions to Bidders in all copies of the Bid Documents.  The Designer shall fill in the information required concerning the specifications and drawings.

2.	The Owner, in consultation with the User Agency and the Designer, shall establish and include the completion time in consecutive calendar days. The Designer shall include this construction time in the Instructions to Bidders.

3. 	The Designer shall also include the Liquidated Damage amount per FPC's schedule.

Bid Form Format

1.    The Designer shall complete the portions of the Louisiana Uniform Public Work Bid Form indicated to be completed by him.  It is to be used exactly as it is found in the Instructions to Designers.

2.  The Designer shall enter the words “Not Applicable” in any blanks that are not applicable to the project.

3.  If approved in writing by FPC the Designer shall provide space for, give descriptive title to, and arrange alternates in the order of priority as approved by FPC.  The instructions in the Louisiana Uniform Public Work Bid Form in the space reserved for the descriptive title may be replaced by the descriptive title.

4. The Designer shall enter the following in the “TO:” section of the Bid Form:

Facility Planning and Control,

P. O. Box 94095

Baton Rouge, Louisiana, 70804-9095.

5.  The Designer shall make no other changes in the form.  It is to be used exactly as it is found in the Instructions to Designers with the exception of the foregoing prescribed changes and additions.

Issuance of Documents

The Designer shall provide the Bid Documents in electronic format. Documents printed for the Owner/User/Code approval process, and prints used by the Designer will not be reimbursed.  If there are any questions, contact FPC.

In selecting a method of electronic Bid Document distribution, Designers shall ensure that the selected method:

- Provides Bid Documents at no cost

- Complies with all provisions of Public Bid Law, particularly with regard to La. R.S. 38:2212(D).

The Designer shall maintain a list of all prime Bidders for the purpose of addenda distribution.

Prior Approvals for Closed Specifications

In accordance with La. R.S. 38:2295(C)(1), If a potential supplier wishes to submit for prior approval of a particular product for which the specification has been closed, other than a product specified in the Bid Documents, they shall do so no later than fourteen (14) working days prior to the opening of bids.  After such submission within 10 days exclusive of holidays and weekends after submission, the prime design professional shall furnish both the public entity and the potential supplier with written approval or denial of the product submitted.  All such approvals shall be included in addenda issued prior to bidding.  If the prime design professional fails to respond within the specified time period, the bid shall be extended at least seven (7) but not more than twenty-one (21) working days.  Such approvals included in addenda shall include both a manufacturer and model or series number for each product approval.  The Designer has full responsibility for such approvals.

Prior Approvals for Non-Closed Specifications

If a potential supplier wishes to submit for prior approval of a particular product, other than a product specified in the Bid Documents, they shall do so no later than fourteen (14) working days prior to the opening of bids.  After such submission within 10 days exclusive of holidays and weekends after submission, the prime design professional shall furnish both the public entity and the potential supplier with written approval or denial of the product submitted.  All such approvals shall be included in addenda issued prior to bidding.  If the prime design professional fails to respond within the specified time period, the bid shall be extended at least seven (7) but not more than twenty-one (21) working days.  Such approvals included in addenda shall include both a manufacturer and model or series number for each product approval.  The Designer has full responsibility for such approvals.

If at the time of issuance of the last addendum, the Designer has issued only one prior approval on any item where prior approval is required, then it shall be the Designer's responsibility to include a minimum of two (2) manufacturers, with model or series numbers, who meet the specification, in the final addendum.  Manufacturer/model number designations shall be coordinated with descriptive specifications.  The description shall be limited to what is important.  This is intended to reduce opportunities for conflict.  If conflicts appear during construction, it will be the Designer’s responsibility to resolve them.

Issuance of Addenda

The basic purpose of an addendum is to clarify or change the Bid Documents, supply additional needed information or provide prior approvals. Designers shall not issue any addendum without the express written approval of FPC.  Designers shall not, in an addendum, change the scope of work, the basic building materials or systems or other basic items without the express written approval of FPC. Designers shall not, in an addendum, change the required Contractor license classification. All parties who have requested Bid Documents shall be notified, via email, of the issuance of any and all addenda.

In accordance with La. R.S. 38:2212.O(2) , if the necessity arises to issue an addendum modifying plans and specifications or giving prior approvals, within the seventy-two (72) hour period prior to the advertised time for the opening of bids, excluding Saturdays, Sundays and any other legal holidays, then the opening of bids shall be extended at least seven but not more than twenty-one working days, without the requirement of re-advertising. Designers shall not issue such an addendum without the express approval of FPC.  If such an addendum should cause the State or the User additional expenses because of re-advertisement or for other reasons, then the Designer shall be liable for such expense if he/she has not received specific approval to issue such an addendum.

When it is necessary to issue an addendum within seven (7) calendar days of the bid date, such addendum shall be sent, via email, to all parties who have requested Bid Documents.  It is the Designer's responsibility to ascertain that all Prime Bidders have received all addenda issued.

General Conditions of the Contract for Construction

1.  The Designer shall include in all Bid Documents a licensed version of the General Conditions of the Contract for Construction (AIA-A201, 2017 edition).  This document shall not be reproduced or included by reference. (These documents shall be used only in compliance with the applicable copyright provisions.)

Supplementary Conditions

1.  In the Bid Documents, the Designer shall include a copy (reproduced, not retyped) of the Supplementary Conditions furnished by this department.  Designer shall not add to or delete from the Supplementary Conditions unless directed in writing by FPC.

2. See Articles 11.1 - 11.3 of the Supplementary Conditions for the limits of insurance required for each project.  In Article 11.2, for renovations, the Designer is to obtain from FPC the building value for the project and type in the space provided for this purpose.

Contract Between Owner and Contractor and Performance and Payment Bond and Non-Collusion Affidavit

1. Include in all copies of the Bid Documents a sample copy of the Contract and Bond Form with the Non-Collusion Affidavit furnished by this department.  This sample copy shall not be modified.

2. 	If the project is awarded for construction, actual preparation of the Contract and Non-Collusion Affidavit will be done by FPC.

Attestations Affidavit

1. Include in all copies of the Bid Documents a sample form of the Attestations Affidavit. In accordance with La. R.S. 38:2212.B(3)(a), the apparent low bidder shall furnish the Attestations Affidavit no later than ten (10) days after bids are opened. If the apparent low bidder does not submit the Attestations Affidavit within the 10-day deadline, such bidder shall be declared non-responsive.

Schedule of Values

Designer should add items as they apply to this particular project.

Pre-Construction Conference Agenda

1. In the Bid Documents, the Designer shall include a copy (reproduced, not retyped) of the Pre-Construction Conference Agenda furnished by this department.  Designer shall not add to or delete from the Pre-Construction Conference Agenda unless directed in writing by FPC.

Other Forms and Documents

1.	Include a sample copy of the Change Order, including change order back-up, Recommendation of Acceptance, and Partial Occupancy Forms in all copies of the Bid Documents.  Instruct the Contractor that they will be issued these forms at the pre-construction conference.

2.	As applicable to the project, the Designer shall obtain other forms and documents from the User Agency to be included in each copy of the Bid Documents.  By way of example these may include, but not be limited to, Certificate of Non-segregated Facilities, Equal Opportunity Employment Clause and/or Affirmative Action Compliance Forms for University projects, FEMA language or Grant requirements.

Codes and Laws

This project shall be designed according to the following:

- Louisiana Building Code for State Owned Buildings, La. R.S. 40:1721-1724

In all cases of conflict between the Life Safety Code and any of the above codes, the most stringent provision shall be used.

- Commercial Building Energy Code

3)	Americans with Disabilities Act Accessibility Guidelines.

NOTE:  Truncated Domes will be used as required by the Americans with Disabilities Act (ADA) and as detailed in the companion guidelines known as the ADA Standards for Accessible Design.

4)	In addition to FPC, Construction documents shall be submitted to the following agencies for the purposes indicated.

a)	Office of State Fire Marshal for the review of the Life Safety Code, other NFPA codes and the ADA.

b)	Regional Office of Public Health for the review of the State Sanitary Code, as applicable.

c)	Office of Technology Services for the review of telecommunications features.

d)	Local building authorities shall be consulted for compliance with local flood zone requirements only.   (Local building permits are not required.)

5)	Comply with the flood zone requirements of the National Flood Insurance Program (NFIP).  The Base Flood Elevation (BFE) is to be obtained from the local jurisdiction and shall include freeboard, if any.  If there is no local jurisdiction or if the local jurisdiction has not established BFE's, the BFE shall be established using FEMA maps.  Note: No building permit is required by the local jurisdiction but their BFE's are to be used where available.

Cover sheets, Title Blocks and Project Signs

Provide the following information on the covers of both Drawings and Specifications.  Verify with the FPC Project Manager the correct names, titles and numbers.

Name of Project

State Project Number & WBS

Site Code & State I.D.

State of Louisiana

Name – Governor

Division of Administration

Name - Commissioner of Administration

Office of Facility Planning and Control

Name - Director

Provide the following information in the title block of each drawing sheet:

Name of Project

State Project Number & WBS

Site Code & State I.D. (if applicable)

A project sign shall be required for all new buildings and significant renovations, subject to approval of FPC.  The project sign shall include all the information required for the cover sheet except the site code and state ID.  The project sign may also include the name of the Designer and the Contractor.   Lettering for the name of the governor shall be 6” high.  Other lettering shall be in the appropriate relationship.

Specifications

1. Technical Specifications on performance and materials shall be based on the divisions outlined in the Construction Specifications Institute Master-format (C.S.I.).

2. State Law prohibits the Designer from closing specifications on any item in the specification, except as provided for in La. R.S. 38:2290-2296, and the Louisiana Administrative Code Title 34, Part III, Chapter 9, Section 901.

3.	FPC recognizes four methods of specifying:

a)	Proprietary - (preferred) Specifies actual brand names, model numbers, and other proprietary information.

b)	Referenced - Requires a product or process to be in accordance with an established standard.

c)	Descriptive - Defines exact properties of materials and methods of installation without using proprietary names.

d)	Performance - Specifies the required results and the criteria by which the performance can be verified.  The Contractor is free to find material complying with the performance criteria.

Proprietary Specifications

FPC prefers to use proprietary specifications above all others, wherever possible.  When in the specifications the Designer uses a proprietary specification, they shall adequately identify said product by including at least two (2) manufacturers that are acceptable as to function and quality for each item specified by manufacturer, and model or series numbers for each manufacturer so named.

The specifications shall state clearly that when a proprietary specification is used, it is used only to denote the quality standard of the products desired, and that they do not restrict Bidders to the specific brand, make, manufacturer or specification named; that they are used only to set forth and convey to prospective Bidders the general style, type, character and quality of the products desired; and that equivalent products will be acceptable, but only with written prior approval as described below.

Referenced Specifications

Where recognized by the construction industry as being an accepted method for specifying a particular item, FPC has no objection to specifying by reference standard (such as ASTM, ANSI, ACI, etc.).  However, such references shall not be used as a substitute for design.  The Designer is responsible for these decisions.  Any reference standards where the date is not specified shall mean the latest edition of such standards published prior to the date of the specifications, in accordance with the abbreviation referred to in the Technical Provisions. Where such a reference is made, the applicable standard is hereby made part of the specifications which refers to it to the same extent as if written out in that specification in full.  The Designer shall have in their possession, or ready access to, a copy of any standard referred to in the specifications.

In all specifications where an item is specified by reference standard only, the Designer shall state in that section if prior approval is required.  If prior approval is required, and if a minimum of two (2) manufacturers and product numbers have not been approved before issuance of the last addendum, then the Designer shall include a minimum of two (2) manufacturers approved in the last addendum.  The Designer is responsible for knowing the content and purpose of the standard before incorporating it into the Construction Documents.

Performance and Descriptive Specifications

They are not to be used where a proprietary specification can be written. Performance and/or descriptive specifications will be allowed for products which the construction industry recognizes and specifies by these methods (steel, concrete, lumber, piping, etc.).  If FPC feels a product can be specified by a proprietary specification, the Designer will be requested to rewrite the specification.  Each section of the specifications where a performance or descriptive specification is written shall state whether or not prior approval is required.  If prior approval is required, the Designer shall submit to FPC, prior to advertising, a minimum of two (2) manufacturers and corresponding model or series numbers that meets the specification.

Moveable Equipment

Moveable Equipment is not to be included in the Construction Documents.  If an item of equipment does not require the services of a Mechanic or some construction trade for its installation, it is classified as Moveable Equipment and is not to be part of the Designer's Contract.

Coordination

The Designer shall be responsible for coordination between the different disciplines, sheets of drawings, details, drawings and specifications, specifications sections and between named products and performance criteria.

General Requirements

Alternates

In Division 1, in the Alternate section, the Designer shall (if approved in writing by FPC) describe only add alternates affecting the scope, materials and methods.  A maximum of three (3) add alternates may be used.  Alternates must be listed in order of priority established by the Owner and the User Agency.  In the description of each alternate, the Designer shall list which of the CSI specification divisions are affected by the alternate.

Allowances

The use of allowances is strictly limited.  Any proposed use of allowances must be reviewed and approved by FPC and shall conform to La. R.S. 3:2212(K).

Project Meetings

In the Construction Documents the Designer shall include the following:

Pre-Construction Conference: After notification that the Contract has been executed, the Designer shall schedule with the Owner, User Agency and Contractor, and conduct a Pre-Construction Conference to be held at the project site.  The Contractor shall be responsible to ensure that their principal Subcontractors are in attendance and shall furnish to the Designer and Owner:

1)	the Schedule of Values,

2)	list of Subcontractors and material suppliers,

3)	information listed in Paragraph 7.1 of the Supplementary Conditions,

4)	the Construction Schedule.

Pre-Closeout Conference:  When the project is 75% to 85% complete the Designer shall schedule with the Owner, User Agency and Contractor and conduct a Pre-Closeout Conference to be held at the project site.  The Contractor shall be responsible for ensuring that their principal Subcontractors are in attendance.  The conference shall follow the format described in the section entitled “Pre-Closeout Conference Agenda.”

Quality Control

Extent of Laboratory Tests and Inspections

The Designer shall make separate written recommendations to the Owner concerning the type and number of tests that will be required for the project.  The Designer shall provide an estimate of the cost of testing services for the project and shall include it in the space provided on the Statement of Probable Cost.  If any owner provided testing laboratory services are required for the construction of the project, the designer will obtain a minimum of three quotes for the engagement of a testing laboratory, with which the designer will contract as a reimbursable expense. The Contractor shall be advised of the number and type of tests to be performed by the testing laboratory.  The Designer shall ensure that a representative of the testing laboratory is present at the Pre-Construction Conference.

The laboratory shall promptly submit written reports of each test and inspection made to the Owner, Designer, Contractor, and to such other parties the Owner may specify.  The testing laboratory shall not be responsible for evaluating test results.  This is the responsibility of the Designer.

All testing laboratory invoices shall be reviewed and certified by the Designer prior to being submitted to the Owner for payment.

In the Documents the Designer shall include the following:

Testing Laboratory Services

The designer is responsible for identifying and specifying any contractor provided and owner provided testing required for the project to perform inspection and tests of materials and construction as defined in the General Conditions.  Any owner provided testing will be contracted for by the Designer as a reimbursable expense.

In the event of a test failure the Contractor shall pay for retesting. For concrete design mix testing, the Contractor is to select the testing lab and pay all invoices as a cost of the work.

Cooperation of Contractor - The Contractor shall cooperate with the laboratory and:

1)	Make available, without cost, samples of all materials to be tested in accordance with applicable standard specifications.

2)	Furnish such nominal labor and sheltered working space as is necessary to obtain samples at the project

3)	Advise the laboratory of the identity of materials' sources and instruct the suppliers to allow tests or inspections by the laboratory.

4)	Notify the laboratory sufficiently in advance of operations to allow for completion of initial tests and assignment of inspection personnel. Notify the laboratory sufficiently in advance of cancellation of required testing operations.  The Contractor shall be responsible to the laboratory for changes due to failure to notify if requirements for testing are canceled.

Test Methods

Tests and inspections shall be conducted in accordance with the latest standards of ASTM or other recognized authorities.

Test Reports

The Contractor will be provided a copy of each report in a timely manner.  The Contractor will be notified immediately if the testing laboratory discovers any hazardous materials.

Site Construction

Demolition

The Designer shall address the following if applicable:

Salvage and Disposition of Material and Equipment

The Designer and User Agency shall determine prior to bidding what excess dirt, salvaged equipment and materials are to be retained.  The Construction Documents shall adequately define where the Contractor is to deliver such dirt, equipment and materials.  Any of this equipment and materials not retained by the User Agency shall be transferred to the Surplus Property Section, Division of Administration, as required by Property Control Regulations.  Such a transfer shall be the responsibility of the User Agency.  Other excess dirt, equipment and materials not to remain in the work or retained by the User Agency shall become the property of the Contractor and shall be removed from the site as a cost of the work.

NOTE: The preceding paragraph is not intended to be included in the specifications, but its intent shall be used to describe, as accurately as possible, such salvage and disposition.

Illumination for Inspections

Designer shall require adequate lighting during the inspection of all finish materials and anything that will affect the visual characteristics of finishes.  This includes the requirement that lighting levels be the same as will exist when the building is accepted and shall be in measurable terms such as foot-candles.

Elevation Certificate

Include in the documents the requirement that the Contractor shall provide a FEMA National Flood Insurance Program Elevation Certificate for the building or buildings.  This requirement shall apply to all new or substantially improved buildings.   The elevation certificate is to be completed and stamped by a licensed engineer or land surveyor strictly according to the FEMA NFIP Instructions, including the photographs, and with the assumption that it is intended to support a LOMA or LOMR-F request.  “Substantially improved” means any improvement the cost of which equals or exceeds 50% of the market value of the building or includes any change in floor elevation.  Any questions regarding the application of the term “substantially improved” should be referred to the FPC Project Manager.

Wood and Plastics

Use only materials that will provide the maximum resistance to corrosion for all fasteners and other metal devices in contact with treated wood.  If any material other than stainless steel is proposed, the approval of the FPC Manager must be obtained.

Thermal and Moisture Protection

Roofing Systems: Instructions to Designers for design of Roofing Systems, including specification data, are contained in a separate memorandum entitled "Instructions to Designers - Roofing Systems", which is made part of the Instructions to Designers.

Specialties

Commemorative Plaque

A commemorative plaque may be required for new buildings and certain major renovations.  Verify with the FPC Project Manager the need for a plaque.  Plaques shall be the size indicated below and include the following information.  No other information will be included, and this is the only plaque that is to be included in the Construction Documents.

Size:	Approximately 15” X 24”

Content, in the following order:

Graphics:

Image of the Seal of the State of Louisiana

Text:

Name of Project (per Capital Outlay)

Year facility was completed

Name of the current Governor

Name of the Designer

Name of the Contractor

Name of the Program Manager (if applicable)

The words: “Project funded by the taxpayers of Louisiana”

Final approval of FPC and the User Agency of the plaque layout or "rubbing" shall be obtained by the Designer prior to the casting of the plaque.

Conveying Systems

The Designer is to design all conveying systems in accordance with the current codes in effect.  Prior to acceptance of the work, it is required that the conveying system be inspected by the Office of Risk management (ORM) as a condition of acceptance.  The scheduling of this inspection is to be coordinated with the FPC Project Manager at the time of the Pre-Closeout Conference.”